## point
| L = l | P = 1,2 bar | 10000 events |  |  |  | P = 1,6 bar | 10000 events |  |  |  | P = 2,0 bar | 10000 events |  |  | P=3 bar |  |  |  | L = 2l | P=1,2 bar |  |  |  | P=1,6 bar |  |  |  | P=2,0 bar |  |  |  | P=3,0 bar
|  | 1%isobutane | each energy |  |  |  | 1%isobutane | each energy |  |  |  | 1%isobutane | each energy |  |  |  |  | From TRestGeant4Event |  |  |  |  | From TRestGeant4Event |  |  |  | From TRestGeant4Event |  |  |  | From TRestGeant4Event |  |  |  | From TRestGeant4Event
[17 empty] | (generated events) |  |  |  |  | (generated events) |  |  |  | (generated events) |  |  |  | (generated events) |  |  |  | (generated events)
| run | Energy (keV) | Total simulated | peak counts | efficiency (%) | run | Energy (keV) | Total simulated | peak counts | efficiency (%) | run | Energy (keV) | Total simulated | peak counts | efficiency (%) | Energy | Total simulated | Peak counts | Efficiency (%) |  | Energy | Total simulated | Peak counts | Efficiency (%) | Energy | Total simulated | Peak counts | Efficiency (%) | Energy | Total simulated | Peak counts | Efficiency (%) | Energy | Total simulated | Peak counts | Efficiency (%)
-1 |  | 0.25 | 220156 | 9914 | 4.5032 |  | 0.25 | 220991 | 9904 | 4.4816 |  | 0.25 | 220848 | 9908 | 4.4863 | 0.25 | 220290 | 9912 | 4.4995 |  | 0.25 | 220061 | 9914 | 4.5051 | 0.25 | 221021 | 9904 | 4.481 | 0.25 | 220837 | 9908 | 4.4866 | 0.25 | 220529 | 9911 | 4.4942
0 |  | 0.5 | 1868320 | 9856 | 0.52753 |  | 0.5 | 1854874 | 9854 | 0.53125 |  | 0.5 | 1863426 | 9851 | 0.52865 | 0.5 | 1864456 | 9854 | 0.52852 |  | 0.5 | 1867159 | 9855 | 0.52781 | 0.5 | 1853398 | 9853 | 0.53162 | 0.5 | 1861044 | 9852 | 0.52938 | 0.5 | 1863463 | 9853 | 0.52875
1 |  | 0.75 | 320297 | 9922 | 3.0977 |  | 0.75 | 318792 | 9931 | 3.1152 |  | 0.75 | 318384 | 9925 | 3.1173 | 0.75 | 317687 | 9928 | 3.1251 |  | 0.75 | 320498 | 9921 | 3.0955 | 0.75 | 319460 | 9929 | 3.1081 | 0.75 | 318579 | 9925 | 3.1154 | 0.75 | 318823 | 9928 | 3.114
2 |  | 1 | 50823 | 9941 | 19.56 |  | 1 | 50839 | 9940 | 19.5519 |  | 1 | 50910 | 9944 | 19.5325 | 1 | 50715 | 9939 | 19.5978 |  | 1 | 50765 | 9938 | 19.5765 | 1 | 50800 | 9941 | 19.5689 | 1 | 51045 | 9943 | 19.4789 | 1 | 50773 | 9936 | 19.5695
3 |  | 1.25 | 24200 | 9970 | 41.1983 |  | 1.25 | 24216 | 9959 | 41.1257 |  | 1.25 | 24179 | 9965 | 41.2134 | 1.25 | 24370 | 9956 | 40.8535 |  | 1.25 | 24231 | 9970 | 41.1456 | 1.25 | 24172 | 9961 | 41.2088 | 1.25 | 24175 | 9966 | 41.2244 | 1.25 | 24348 | 9957 | 40.8945
4 |  | 1.5 | 17224 | 9972 | 57.896 |  | 1.5 | 17004 | 9963 | 58.5921 |  | 1.5 | 17367 | 9973 | 57.425 | 1.5 | 17105 | 9967 | 58.2695 |  | 1.5 | 17222 | 9970 | 57.8911 | 1.5 | 16976 | 9964 | 58.6946 | 1.5 | 17349 | 9973 | 57.4846 | 1.5 | 17090 | 9968 | 58.3265
5 |  | 1.75 | 14712 | 9908 | 67.3464 |  | 1.75 | 14400 | 9905 | 68.7847 |  | 1.75 | 14431 | 9894 | 68.5607 | 1.75 | 14360 | 9900 | 68.9415 |  | 1.75 | 14460 | 9907 | 68.5131 | 1.75 | 14383 | 9901 | 68.8382 | 1.75 | 14430 | 9892 | 68.5516 | 1.75 | 14362 | 9897 | 68.911
6 |  | 2 | 13371 | 9931 | 74.2727 |  | 2 | 13159 | 9924 | 75.4161 |  | 2 | 12971 | 9921 | 76.486 | 2 | 12839 | 9921 | 77.2724 |  | 2 | 12859 | 9937 | 77.2766 | 2 | 12921 | 9929 | 76.8439 | 2 | 12900 | 9921 | 76.907 | 2 | 12836 | 9916 | 77.2515
7 |  | 2.25 | 13441 | 9909 | 73.7222 |  | 2.25 | 12591 | 9899 | 78.6196 |  | 2.25 | 12334 | 9924 | 80.4605 | 2.25 | 12052 | 9932 | 82.4096 |  | 2.25 | 12057 | 9930 | 82.3588 | 2.25 | 12005 | 9908 | 82.5323 | 2.25 | 11969 | 9928 | 82.9476 | 2.25 | 11991 | 9936 | 82.8621
8 |  | 2.5 | 14047 | 9934 | 70.7197 |  | 2.5 | 12831 | 9929 | 77.3829 |  | 2.5 | 12256 | 9936 | 81.0705 | 2.5 | 11619 | 9937 | 85.5237 |  | 2.5 | 11790 | 9934 | 84.2578 | 2.5 | 11565 | 9947 | 86.0095 | 2.5 | 11475 | 9945 | 86.6667 | 2.5 | 11421 | 9940 | 87.0327
9 |  | 2.75 | 15423 | 9919 | 64.313 |  | 2.75 | 13573 | 9927 | 73.1378 |  | 2.75 | 12456 | 9946 | 79.8491 | 2.75 | 11485 | 9942 | 86.5651 |  | 2.75 | 11951 | 9943 | 83.1981 | 2.75 | 11497 | 9941 | 86.466 | 2.75 | 11256 | 9949 | 88.3884 | 2.75 | 11030 | 9944 | 90.1541
10 |  | 3 | 17056 | 9895 | 58.0148 |  | 3 | 14704 | 9924 | 67.4918 |  | 3 | 13350 | 9925 | 74.3446 | 3 | 11920 | 9955 | 83.5151 |  | 3 | 12486 | 9940 | 79.6092 | 3 | 11581 | 9945 | 85.8734 | 3 | 11197 | 9947 | 88.8363 | 3 | 10933 | 9965 | 91.1461
11 |  | 3.25 | 10629 | 9344 | 87.9104 |  | 3.25 | 10620 | 9422 | 88.7194 |  | 3.25 | 10590 | 9452 | 89.254 | 3.25 | 10606 | 9506 | 89.6285 |  | 3.25 | 10606 | 9412 | 88.7422 | 3.25 | 10601 | 9469 | 89.3218 | 3.25 | 10589 | 9472 | 89.4513 | 3.25 | 10624 | 9504 | 89.4578
12 |  | 3.5 | 10540 | 9402 | 89.203 |  | 3.5 | 10509 | 9452 | 89.942 |  | 3.5 | 10461 | 9536 | 91.1576 | 3.5 | 10506 | 9534 | 90.7481 |  | 3.5 | 10526 | 9446 | 89.7397 | 3.5 | 10525 | 9527 | 90.5178 | 3.5 | 10481 | 9538 | 91.0028 | 3.5 | 10495 | 9568 | 91.1672
13 |  | 3.75 | 10468 | 9426 | 90.0459 |  | 3.75 | 10376 | 9504 | 91.596 |  | 3.75 | 10423 | 9542 | 91.5475 | 3.75 | 10413 | 9575 | 91.9524 |  | 3.75 | 10386 | 9512 | 91.5848 | 3.75 | 10381 | 9513 | 91.6386 | 3.75 | 10416 | 9569 | 91.8683 | 3.75 | 10430 | 9572 | 91.7737
14 |  | 4 | 10425 | 9489 | 91.0216 |  | 4 | 10368 | 9508 | 91.7052 |  | 4 | 10323 | 9568 | 92.6862 | 4 | 10336 | 9629 | 93.1598 |  | 4 | 10302 | 9528 | 92.4869 | 4 | 10330 | 9562 | 92.5653 | 4 | 10322 | 9586 | 92.8696 | 4 | 10322 | 9634 | 93.3346
15 |  | 4.25 | 10504 | 9493 | 90.3751 |  | 4.25 | 10313 | 9544 | 92.5434 |  | 4.25 | 10281 | 9585 | 93.2302 | 4.25 | 10253 | 9654 | 94.1578 |  | 4.25 | 10279 | 9577 | 93.1705 | 4.25 | 10268 | 9596 | 93.4554 | 4.25 | 10280 | 9648 | 93.8521 | 4.25 | 10269 | 9656 | 94.0306
16 |  | 4.5 | 10589 | 9498 | 89.6969 |  | 4.5 | 10346 | 9564 | 92.4415 |  | 4.5 | 10280 | 9586 | 93.249 | 4.5 | 10254 | 9611 | 93.7293 |  | 4.5 | 10221 | 9585 | 93.7775 | 4.5 | 10225 | 9619 | 94.0733 | 4.5 | 10264 | 9614 | 93.6672 | 4.5 | 10246 | 9610 | 93.7927
17 |  | 4.75 | 10852 | 9488 | 87.4309 |  | 4.75 | 10424 | 9531 | 91.4332 |  | 4.75 | 10326 | 9606 | 93.0273 | 4.75 | 10197 | 9691 | 95.0378 |  | 4.75 | 10218 | 9570 | 93.6583 | 4.75 | 10195 | 9606 | 94.2227 | 4.75 | 10201 | 9642 | 94.5201 | 4.75 | 10183 | 9697 | 95.2273
18 |  | 5 | 11112 | 9453 | 85.0702 |  | 5 | 10552 | 9581 | 90.798 |  | 5 | 10341 | 9615 | 92.9794 | 5 | 10213 | 9640 | 94.3895 |  | 5 | 10234 | 9600 | 93.805 | 5 | 10171 | 9615 | 94.5335 | 5 | 10183 | 9674 | 95.0015 | 5 | 10182 | 9674 | 95.0108
19 |  | 5.25 | 11357 | 9507 | 83.7105 |  | 5.25 | 10727 | 9615 | 89.6336 |  | 5.25 | 10387 | 9643 | 92.8372 | 5.25 | 10173 | 9708 | 95.4291 |  | 5.25 | 10253 | 9613 | 93.7579 | 5.25 | 10167 | 9680 | 95.21 | 5.25 | 10142 | 9682 | 95.4644 | 5.25 | 10130 | 9723 | 95.9822
20 |  | 5.5 | 11848 | 9524 | 80.3849 |  | 5.5 | 11038 | 9592 | 86.8998 |  | 5.5 | 10548 | 9656 | 91.5434 | 5.5 | 10226 | 9684 | 94.6998 |  | 5.5 | 10311 | 9615 | 93.2499 | 5.5 | 10205 | 9669 | 94.7477 | 5.5 | 10125 | 9729 | 96.0889 | 5.5 | 10140 | 9721 | 95.8679
21 |  | 5.75 | 12288 | 9520 | 77.474 |  | 5.75 | 11268 | 9584 | 85.055 |  | 5.75 | 10717 | 9637 | 89.9226 | 5.75 | 10247 | 9723 | 94.8863 |  | 5.75 | 10402 | 9638 | 92.6553 | 5.75 | 10220 | 9667 | 94.589 | 5.75 | 10142 | 9689 | 95.5334 | 5.75 | 10124 | 9752 | 96.3256
22 |  | 6 | 12839 | 9524 | 74.1802 |  | 6 | 11673 | 9594 | 82.1897 |  | 6 | 11260 | 9638 | 85.595 | 6 | 10328 | 9721 | 94.1228 |  | 6 | 10534 | 9626 | 91.3803 | 6 | 10266 | 9686 | 94.3503 | 6 | 10158 | 9739 | 95.8752 | 6 | 10097 | 9752 | 96.5831
23 |  | 6.25 | 13556 | 9476 | 69.9026 |  | 6.25 | 12050 | 9608 | 79.7344 |  | 6.25 | 11260 | 9643 | 85.6394 | 6.25 | 10462 | 9737 | 93.0702 |  | 6.25 | 10800 | 9637 | 89.2315 | 6.25 | 10360 | 9677 | 93.4073 | 6.25 | 10174 | 9760 | 95.9308 | 6.25 | 10101 | 9767 | 96.6934
24 |  | 6.5 | 14272 | 9501 | 66.5709 |  | 6.5 | 12479 | 9585 | 76.809 |  | 6.5 | 11576 | 9631 | 83.198 | 6.5 | 10575 | 9744 | 92.1418 |  | 6.5 | 11018 | 9630 | 87.4024 | 6.5 | 10470 | 9721 | 92.8462 | 6.5 | 10233 | 9764 | 95.4168 | 6.5 | 10101 | 9780 | 96.8221
25 |  | 6.75 | 15019 | 9493 | 63.2066 |  | 6.75 | 13023 | 9602 | 73.7311 |  | 6.75 | 11961 | 9669 | 80.8377 | 6.75 | 10713 | 9731 | 90.8336 |  | 6.75 | 11355 | 9647 | 84.9582 | 6.75 | 10553 | 9683 | 91.7559 | 6.75 | 10351 | 9750 | 94.1938 | 6.75 | 10113 | 9798 | 96.8852
26 |  | 7 | 15956 | 9476 | 59.3883 |  | 7 | 13593 | 9580 | 70.4775 |  | 7 | 12435 | 9663 | 77.7081 | 7 | 10894 | 9723 | 89.251 |  | 7 | 11603 | 9651 | 83.1768 | 7 | 10780 | 9735 | 90.3061 | 7 | 10444 | 9780 | 93.6423 | 7 | 10135 | 9779 | 96.4874
27 |  | 7.25 | 16705 | 9483 | 56.7674 |  | 7.25 | 14178 | 9540 | 67.2873 |  | 7.25 | 12870 | 9626 | 74.7941 | 7.25 | 11174 | 9725 | 87.0324 |  | 7.25 | 11837 | 9650 | 81.524 | 7.25 | 11025 | 9697 | 87.9546 | 7.25 | 10555 | 9764 | 92.5059 | 7.25 | 10160 | 9816 | 96.6142
28 |  | 7.5 | 17983 | 9449 | 52.5441 |  | 7.5 | 14924 | 9548 | 63.9775 |  | 7.5 | 13382 | 9620 | 71.8876 | 7.5 | 11478 | 9746 | 84.9103 |  | 7.5 | 12323 | 9628 | 78.1303 | 7.5 | 11241 | 9702 | 86.309 | 7.5 | 10720 | 9747 | 90.9235 | 7.5 | 10215 | 9802 | 95.9569
29 |  | 7.75 | 18864 | 9457 | 50.1325 |  | 7.75 | 15761 | 9545 | 60.5609 |  | 7.75 | 14023 | 9636 | 68.7157 | 7.75 | 11798 | 9743 | 82.5818 |  | 7.75 | 12917 | 9680 | 74.94 | 7.75 | 11525 | 9707 | 84.2256 | 7.75 | 10891 | 9790 | 89.8907 | 7.75 | 10296 | 9813 | 95.3089
30 |  | 8 | 19973 | 9487 | 47.4991 |  | 8 | 16492 | 9571 | 58.0342 |  | 8 | 14539 | 9619 | 66.16 | 8 | 12200 | 9732 | 79.7705 |  | 8 | 13305 | 9643 | 72.4765 | 8 | 11886 | 9709 | 81.6843 | 8 | 11139 | 9771 | 87.7188 | 8 | 10356 | 9830 | 94.9208
31 |  | 8.25 | 21368 | 9447 | 44.211 |  | 8.25 | 17698 | 9563 | 54.0344 |  | 8.25 | 15296 | 9615 | 62.8596 | 8.25 | 12664 | 9741 | 76.9188 |  | 8.25 | 13827 | 9648 | 69.7765 | 8.25 | 12218 | 9715 | 79.5138 | 8.25 | 11414 | 9775 | 85.6404 | 8.25 | 10471 | 9825 | 93.8306
32 |  | 8.5 | 22738 | 9441 | 41.5208 |  | 8.5 | 18455 | 9553 | 51.7637 |  | 8.5 | 16108 | 9639 | 59.8398 | 8.5 | 13032 | 9721 | 74.5933 |  | 8.5 | 14548 | 9631 | 66.2015 | 8.5 | 12597 | 9752 | 77.4153 | 8.5 | 11687 | 9791 | 83.7768 | 8.5 | 10582 | 9834 | 92.9314
33 |  | 8.75 | 24181 | 9466 | 39.1464 |  | 8.75 | 19453 | 9528 | 48.9796 |  | 8.75 | 16873 | 9644 | 57.1564 | 8.75 | 13674 | 9748 | 71.2886 |  | 8.75 | 15291 | 9651 | 63.1156 | 8.75 | 13115 | 9707 | 74.0145 | 8.75 | 11977 | 9763 | 81.5146 | 8.75 | 10815 | 9851 | 91.0865
34 |  | 9 | 25290 | 9198 | 36.3701 |  | 9 | 20257 | 9339 | 46.1026 |  | 9 | 17456 | 9464 | 54.2163 | 9 | 14136 | 9645 | 68.2301 |  | 9 | 15780 | 9493 | 60.1584 | 9 | 13430 | 9626 | 71.6754 | 9 | 12316 | 9716 | 78.8892 | 9 | 10856 | 9818 | 90.4385
35 |  | 9.25 | 26422 | 9125 | 34.5356 |  | 9.25 | 21452 | 9312 | 43.4085 |  | 9.25 | 18304 | 9392 | 51.3112 | 9.25 | 14587 | 9628 | 66.004 |  | 9.25 | 16539 | 9463 | 57.2163 | 9.25 | 14079 | 9621 | 68.3358 | 9.25 | 12729 | 9727 | 76.4161 | 9.25 | 11087 | 9806 | 88.4459
36 |  | 9.5 | 28155 | 9065 | 32.1968 |  | 9.5 | 22474 | 9282 | 41.3011 |  | 9.5 | 19224 | 9392 | 48.8556 | 9.5 | 15231 | 9573 | 62.8521 |  | 9.5 | 17261 | 9409 | 54.5102 | 9.5 | 14450 | 9605 | 66.4706 | 9.5 | 13116 | 9678 | 73.7877 | 9.5 | 11343 | 9801 | 86.4057
37 |  | 9.75 | 29428 | 9077 | 30.8448 |  | 9.75 | 23792 | 9233 | 38.8072 |  | 9.75 | 20265 | 9354 | 46.1584 | 9.75 | 15688 | 9574 | 61.0275 |  | 9.75 | 17937 | 9423 | 52.5339 | 9.75 | 15172 | 9565 | 63.0438 | 9.75 | 13564 | 9673 | 71.3138 | 9.75 | 11598 | 9802 | 84.5146
38 |  | 10 | 32086 | 8986 | 28.006 |  | 10 | 25272 | 9183 | 36.3367 |  | 10 | 21448 | 9352 | 43.6031 | 10 | 16343 | 9540 | 58.3736 |  | 10 | 18518 | 9390 | 50.7074 | 10 | 15739 | 9566 | 60.779 | 10 | 14177 | 9649 | 68.0609 | 10 | 11860 | 9802 | 82.6476
39 |  | 10.25 | 33331 | 8961 | 26.8849 |  | 10.25 | 26474 | 9127 | 34.4753 |  | 10.25 | 22264 | 9246 | 41.5289 | 10.25 | 17179 | 9571 | 55.7134 |  | 10.25 | 20125 | 9336 | 46.3901 | 10.25 | 16425 | 9595 | 58.417 | 10.25 | 14411 | 9615 | 66.7199 | 10.25 | 12163 | 9763 | 80.268
40 |  | 10.5 | 34769 | 8936 | 25.7011 |  | 10.5 | 27490 | 9084 | 33.0447 |  | 10.5 | 23495 | 9224 | 39.2594 | 10.5 | 17969 | 9460 | 52.6462 |  | 10.5 | 20683 | 9392 | 45.4093 | 10.5 | 17050 | 9517 | 55.8182 | 10.5 | 15111 | 9581 | 63.4041 | 10.5 | 12464 | 9768 | 78.3697
41 |  | 10.75 | 36733 | 8887 | 24.1935 |  | 10.75 | 28779 | 9059 | 31.4778 |  | 10.75 | 24588 | 9249 | 37.6159 | 10.75 | 18708 | 9479 | 50.6682 |  | 10.75 | 21567 | 9308 | 43.1585 | 10.75 | 17834 | 9461 | 53.0504 | 10.75 | 15644 | 9596 | 61.3398 | 10.75 | 12772 | 9736 | 76.2293
42 |  | 11 | 38544 | 8864 | 22.9971 |  | 11 | 30385 | 8985 | 29.5705 |  | 11 | 25606 | 9158 | 35.7651 | 11 | 19346 | 9480 | 49.0024 |  | 11 | 22718 | 9282 | 40.8575 | 11 | 18493 | 9493 | 51.3329 | 11 | 16249 | 9538 | 58.699 | 11 | 13173 | 9728 | 73.848
43 |  | 11.25 | 40700 | 8744 | 21.484 |  | 11.25 | 32184 | 8956 | 27.8275 |  | 11.25 | 26816 | 9141 | 34.0879 | 11.25 | 20342 | 9408 | 46.2491 |  | 11.25 | 23745 | 9270 | 39.0398 | 11.25 | 19446 | 9450 | 48.5961 | 11.25 | 16967 | 9554 | 56.3093 | 11.25 | 13663 | 9716 | 71.1118
44 |  | 11.5 | 42597 | 8726 | 20.485 |  | 11.5 | 33783 | 8933 | 26.4423 |  | 11.5 | 28555 | 9049 | 31.6897 | 11.5 | 21317 | 9321 | 43.7257 |  | 11.5 | 24876 | 9219 | 37.0598 | 11.5 | 20132 | 9389 | 46.6372 | 11.5 | 17518 | 9511 | 54.2927 | 11.5 | 14005 | 9747 | 69.5966
45 |  | 11.75 | 44593 | 8650 | 19.3977 |  | 11.75 | 35628 | 8953 | 25.1291 |  | 11.75 | 29868 | 9056 | 30.3201 | 11.75 | 21975 | 9364 | 42.6121 |  | 11.75 | 26211 | 9188 | 35.054 | 11.75 | 21067 | 9366 | 44.4582 | 11.75 | 18401 | 9520 | 51.7363 | 11.75 | 14516 | 9700 | 66.8228
46 |  | 12 | 47436 | 8624 | 18.1803 |  | 12 | 37314 | 8859 | 23.7418 |  | 12 | 31274 | 8992 | 28.7523 | 12 | 22887 | 9343 | 40.8223 |  | 12 | 26801 | 9150 | 34.1405 | 12 | 21894 | 9354 | 42.724 | 12 | 18913 | 9466 | 50.0502 | 12 | 14812 | 9672 | 65.2984
47 |  | 12.25 | 50127 | 8607 | 17.1704 |  | 12.25 | 39024 | 8836 | 22.6425 |  | 12.25 | 32384 | 9057 | 27.9675 | 12.25 | 23923 | 9253 | 38.6783 |  | 12.25 | 28561 | 9072 | 31.7636 | 12.25 | 23022 | 9329 | 40.5221 | 12.25 | 19793 | 9463 | 47.8098 | 12.25 | 15193 | 9652 | 63.5293
48 |  | 12.5 | 52049 | 8529 | 16.3865 |  | 12.5 | 40936 | 8811 | 21.5238 |  | 12.5 | 34290 | 8995 | 26.2321 | 12.5 | 25085 | 9288 | 37.0261 |  | 12.5 | 29593 | 9112 | 30.7911 | 12.5 | 23682 | 9298 | 39.2619 | 12.5 | 20422 | 9439 | 46.2198 | 12.5 | 15881 | 9678 | 60.9407
49 |  | 12.75 | 54428 | 8508 | 15.6317 |  | 12.75 | 42726 | 8746 | 20.47 |  | 12.75 | 35527 | 8970 | 25.2484 | 12.75 | 26047 | 9241 | 35.4782 |  | 12.75 | 31062 | 9058 | 29.161 | 12.75 | 24842 | 9217 | 37.1025 | 12.75 | 21444 | 9380 | 43.7418 | 12.75 | 16326 | 9605 | 58.8325
50 |  | 13 | 56954 | 8537 | 14.9893 |  | 13 | 45280 | 8732 | 19.2845 |  | 13 | 36994 | 8877 | 23.9958 | 13 | 27043 | 9193 | 33.994 |  | 13 | 32240 | 9087 | 28.1855 | 13 | 25840 | 9272 | 35.8824 | 13 | 22076 | 9353 | 42.3673 | 13 | 17097 | 9594 | 56.1151
51 |  | 13.25 | 60450 | 8453 | 13.9835 |  | 13.25 | 47207 | 8701 | 18.4316 |  | 13.25 | 38799 | 8837 | 22.7764 | 13.25 | 27940 | 9156 | 32.7702 |  | 13.25 | 33662 | 9022 | 26.8017 | 13.25 | 26890 | 9222 | 34.2953 | 13.25 | 22970 | 9387 | 40.8663 | 13.25 | 17373 | 9595 | 55.2294
52 |  | 13.5 | 62723 | 8378 | 13.3571 |  | 13.5 | 49096 | 8633 | 17.5839 |  | 13.5 | 40076 | 8772 | 21.8884 | 13.5 | 29756 | 9153 | 30.7602 |  | 13.5 | 34975 | 8961 | 25.6212 | 13.5 | 28602 | 9232 | 32.2775 | 13.5 | 23486 | 9364 | 39.8706 | 13.5 | 17984 | 9563 | 53.175
53 |  | 13.75 | 66340 | 8309 | 12.5249 |  | 13.75 | 51218 | 8586 | 16.7636 |  | 13.75 | 42254 | 8804 | 20.8359 | 13.75 | 30969 | 9052 | 29.2292 |  | 13.75 | 36462 | 8923 | 24.4721 | 13.75 | 29701 | 9112 | 30.6791 | 13.75 | 24564 | 9311 | 37.9051 | 13.75 | 18534 | 9562 | 51.5917
54 |  | 14 | 68902 | 8239 | 11.9576 |  | 14 | 53348 | 8557 | 16.04 |  | 14 | 44442 | 8721 | 19.6233 | 14 | 31896 | 9019 | 28.2763 |  | 14 | 38829 | 8879 | 22.8669 | 14 | 31144 | 9139 | 29.3443 | 14 | 25822 | 9325 | 36.1126 | 14 | 19608 | 9526 | 48.5822
55 |  | 14.25 | 72425 | 8210 | 11.3359 |  | 14.25 | 56188 | 8515 | 15.1545 |  | 14.25 | 46410 | 8747 | 18.8472 | 14.25 | 33170 | 9011 | 27.1661 |  | 14.25 | 40400 | 8847 | 21.8985 | 14.25 | 31825 | 9075 | 28.5153 | 14.25 | 26665 | 9233 | 34.6259 | 14.25 | 20201 | 9502 | 47.0373
56 |  | 14.5 | 74201 | 8337 | 11.2357 |  | 14.5 | 58426 | 8395 | 14.3686 |  | 14.5 | 48031 | 8637 | 17.9821 | 14.5 | 34111 | 9011 | 26.4167 |  | 14.5 | 41366 | 8820 | 21.3219 | 14.5 | 32744 | 9027 | 27.5684 | 14.5 | 27772 | 9242 | 33.2781 | 14.5 | 20654 | 9505 | 46.0201
57 |  | 14.75 | 77591 | 8157 | 10.5128 |  | 14.75 | 60207 | 8453 | 14.0399 |  | 14.75 | 50001 | 8612 | 17.2237 | 14.75 | 36098 | 8958 | 24.8158 |  | 14.75 | 43493 | 8812 | 20.2607 | 14.75 | 34276 | 9054 | 26.415 | 14.75 | 29007 | 9179 | 31.6441 | 14.75 | 21508 | 9480 | 44.0766
58 |  | 15 | 80627 | 8120 | 10.0711 |  | 15 | 63124 | 8379 | 13.2739 |  | 15 | 52410 | 8558 | 16.3289 | 15 | 37585 | 8906 | 23.6956 |  | 15 | 45399 | 8736 | 19.2427 | 15 | 35656 | 9035 | 25.3394 | 15 | 29990 | 9213 | 30.7202 | 15 | 21952 | 9477 | 43.1715
59 |  | 15.25 | 84662 | 8156 | 9.6336 |  | 15.25 | 65449 | 8297 | 12.677 |  | 15.25 | 54745 | 8585 | 15.6818 | 15.25 | 38559 | 8932 | 23.1645 |  | 15.25 | 46616 | 8758 | 18.7875 | 15.25 | 36746 | 8956 | 24.3727 | 15.25 | 30759 | 9147 | 29.7376 | 15.25 | 22985 | 9417 | 40.9702
60 |  | 15.5 | 87450 | 8016 | 9.1664 |  | 15.5 | 69173 | 8306 | 12.0076 |  | 15.5 | 56762 | 8527 | 15.0224 | 15.5 | 40060 | 8863 | 22.1243 |  | 15.5 | 48630 | 8728 | 17.9478 | 15.5 | 38370 | 8954 | 23.3359 | 15.5 | 32010 | 9064 | 28.3162 | 15.5 | 23559 | 9397 | 39.8871
61 |  | 15.75 | 93406 | 7982 | 8.5455 |  | 15.75 | 71283 | 8224 | 11.5371 |  | 15.75 | 59465 | 8462 | 14.2302 | 15.75 | 42062 | 8864 | 21.0737 |  | 15.75 | 51029 | 8666 | 16.9825 | 15.75 | 40181 | 8936 | 22.2394 | 15.75 | 33568 | 9076 | 27.0377 | 15.75 | 24873 | 9405 | 37.8121
62 |  | 16 | 95553 | 7911 | 8.2792 |  | 16 | 74253 | 8263 | 11.1282 |  | 16 | 61658 | 8445 | 13.6965 | 16 | 43615 | 8775 | 20.1192 |  | 16 | 53057 | 8699 | 16.3956 | 16 | 41412 | 8961 | 21.6387 | 16 | 34172 | 9094 | 26.6124 | 16 | 25339 | 9359 | 36.9352